## data_Tim_White
device_type | software_version | UID | Number | batch | Test | weekday | timestamp_iso8601 | decimal_hour | bandwidth_FWHM_nm | field_of_view_FWHM_DEG | irradiance_410nm_purple_wavelength_nm | irradiance_410nm_purple_wavelength_uncertainty_nm | irradiance_410nm_purple_irradiance_uW_per_cm_squared | irradiance_410nm_purple_irradiance_uncertainty_uW_per_cm_squared | irradiance_435nm_blue_wavelength_nm | irradiance_435nm_blue_wavelength_uncertainty_nm | irradiance_435nm_blue_irradiance_uW_per_cm_squared | irradiance_435nm_blue_irradiance_uncertainty_uW_per_cm_squared | irradiance_460nm_dodgerblue_wavelength_nm | irradiance_460nm_dodgerblue_wavelength_uncertainty_nm | irradiance_460nm_dodgerblue_irradiance_uW_per_cm_squared | irradiance_460nm_dodgerblue_irradiance_uncertainty_uW_per_cm_squared | irradiance_485nm_cyan_wavelength_nm | irradiance_485nm_cyan_wavelength_uncertainty_nm | irradiance_485nm_cyan_irradiance_uW_per_cm_squared | irradiance_485nm_cyan_irradiance_uncertainty_uW_per_cm_squared | irradiance_510nm_green_wavelength_nm | irradiance_510nm_green_wavelength_uncertainty_nm | irradiance_510nm_green_irradiance_uW_per_cm_squared | irradiance_510nm_green_irradiance_uncertainty_uW_per_cm_squared | irradiance_535nm_aquamarine_wavelength_nm | irradiance_535nm_aquamarine_wavelength_uncertainty_nm | irradiance_535nm_aquamarine_irradiance_uW_per_cm_squared | irradiance_535nm_aquamarine_irradiance_uncertainty_uW_per_cm_squared | irradiance_560nm_limegreen_wavelength_nm | irradiance_560nm_limegreen_wavelength_uncertainty_nm | irradiance_560nm_limegreen_irradiance_uW_per_cm_squared | irradiance_560nm_limegreen_irradiance_uncertainty_uW_per_cm_squared | irradiance_585nm_yellow_wavelength_nm | irradiance_585nm_yellow_wavelength_uncertainty_nm | irradiance_585nm_yellow_irradiance_uW_per_cm_squared | irradiance_585nm_yellow_irradiance_uncertainty_uW_per_cm_squared | irradiance_610nm_orange_wavelength_nm | irradiance_610nm_orange_wavelength_uncertainty_nm | irradiance_610nm_orange_irradiance_uW_per_cm_squared | irradiance_610nm_orange_irradiance_uncertainty_uW_per_cm_squared | irradiance_645nm_red_wavelength_nm | irradiance_645nm_red_wavelength_uncertainty_nm | irradiance_645nm_red_irradiance_uW_per_cm_squared | irradiance_645nm_red_irradiance_uncertainty_uW_per_cm_squared | irradiance_680nm_black_wavelength_nm | irradiance_680nm_black_wavelength_uncertainty_nm | irradiance_680nm_black_irradiance_uW_per_cm_squared | irradiance_680nm_black_irradiance_uncertainty_uW_per_cm_squared | irradiance_705nm_brown_wavelength_nm | irradiance_705nm_brown_wavelength_uncertainty_nm | irradiance_705nm_brown_irradiance_uW_per_cm_squared | irradiance_705nm_brown_irradiance_uncertainty_uW_per_cm_squared | irradiance_730nm_gray_wavelength_nm | irradiance_730nm_gray_wavelength_uncertainty_nm | irradiance_730nm_gray_irradiance_uW_per_cm_squared | irradiance_730nm_gray_irradiance_uncertainty_uW_per_cm_squared | irradiance_760nm_silver_wavelength_nm | irradiance_760nm_silver_wavelength_uncertainty_nm | irradiance_760nm_silver_irradiance_uW_per_cm_squared | irradiance_760nm_silver_irradiance_uncertainty_uW_per_cm_squared | irradiance_810nm_lightgray_wavelength_nm | irradiance_810nm_lightgray_wavelength_uncertainty_nm | irradiance_810nm_lightgray_irradiance_uW_per_cm_squared | irradiance_810nm_lightgray_irradiance_uncertainty_uW_per_cm_squared | irradiance_860nm_linen_wavelength_nm | irradiance_860nm_linen_wavelength_uncertainty_nm | irradiance_860nm_linen_irradiance_uW_per_cm_squared | irradiance_860nm_linen_irradiance_uncertainty_uW_per_cm_squared | irradiance_900nm_wheat_wavelength_nm | irradiance_900nm_wheat_wavelength_uncertainty_nm | irradiance_900nm_wheat_irradiance_uW_per_cm_squared | irradiance_900nm_wheat_irradiance_uncertainty_uW_per_cm_squared | irradiance_940nm_gold_wavelength_nm | irradiance_940nm_gold_wavelength_uncertainty_nm | irradiance_940nm_gold_irradiance_uW_per_cm_squared | irradiance_940nm_gold_irradiance_uncertainty_uW_per_cm_squared | battery_voltage | battery_percent
STELLA-Q2 | 2.4.0 | 6858 | 16 | 0 | Whiite_Knee | Saturday | 20240427T214114Z | 21.6872 | 20 | 20 | 410 | 10 | 4691.531 | 562.9839 | 435 | 10 | 6185.029 | 742.2032 | 460 | 10 | 7787.427 | 934.4909 | 485 | 10 | 7151.004 | 858.1201 | 510 | 10 | 6812.622 | 817.5143 | 535 | 10 | 6303.523 | 756.4224 | 560 | 10 | 4135.902 | 496.3082 | 585 | 10 | 4244.821 | 509.3783 | 610 | 10 | 10069.307 | 1208.315 | 645 | 10 | 3571.335 | 428.56 | 680 | 10 | 8778.309 | 1053.3971 | 705 | 10 | 3116.526 | 373.9827 | 730 | 10 | 8730.477 | 1047.6561 | 760 | 10 | 8452.826 | 1014.3367 | 810 | 10 | 9027.14 | 1083.2564 | 860 | 10 | 9253.267 | 1110.392 | 900 | 10 | 2178.158 | 261.379 | 940 | 10 | 1267.056 | 152.0467 | 4.124 | 93
STELLA-Q2 | 2.4.0 | 6858 | 103 | 3 | 3White | Saturday | 20240427T214652Z | 21.7811 | 20 | 20 | 410 | 10 | 4762.922 | 571.5504 | 435 | 10 | 6249.78 | 749.9734 | 460 | 10 | 8514.294 | 1021.714 | 485 | 10 | 7557.642 | 906.9172 | 510 | 10 | 6580.738 | 789.6884 | 535 | 10 | 5570.896 | 668.5074 | 560 | 10 | 4339.928 | 520.7914 | 585 | 10 | 4589.232 | 550.7078 | 610 | 10 | 11216.78 | 1346.012 | 645 | 10 | 3717.484 | 446.0982 | 680 | 10 | 7267.028 | 872.043 | 705 | 10 | 2550.24 | 306.029 | 730 | 10 | 9055.594 | 1086.672 | 760 | 10 | 8539.572 | 1024.748 | 810 | 10 | 9874.478 | 1184.936 | 860 | 10 | 8083.172 | 969.9802 | 900 | 10 | 2178.046 | 261.3656 | 940 | 10 | 1361.116 | 163.3338 | 4.126 | 93
STELLA-Q2 | 2.4.0 | 6858 | 0 | 0 | White_Waist | Saturday | 20240427T214048Z | 21.68 | 20 | 20 | 410 | 10 | 2765.38 | 331.846 | 435 | 10 | 3412.66 | 409.519 | 460 | 10 | 2834.51 | 340.141 | 485 | 10 | 2899.73 | 347.968 | 510 | 10 | 2691.06 | 322.927 | 535 | 10 | 1966.12 | 235.935 | 560 | 10 | 993.684 | 119.242 | 585 | 10 | 1735.12 | 208.214 | 610 | 10 | 4342.63 | 521.116 | 645 | 10 | 2059.96 | 247.196 | 680 | 10 | 2046.48 | 245.578 | 705 | 10 | 806.501 | 96.78 | 730 | 10 | 5860.44 | 703.253 | 760 | 10 | 4704.26 | 564.511 | 810 | 10 | 4339.01 | 520.681 | 860 | 10 | 3802.02 | 456.242 | 900 | 10 | 1167.49 | 140.098 | 940 | 10 | 739.41 | 88.729 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 1 | 0 | White_Waist | Saturday | 20240427T214050Z | 21.6805 | 20 | 20 | 410 | 10 | 2876 | 345.12 | 435 | 10 | 3031.66 | 363.799 | 460 | 10 | 2296.02 | 275.522 | 485 | 10 | 2915.86 | 349.904 | 510 | 10 | 2641.11 | 316.933 | 535 | 10 | 1732.68 | 207.921 | 560 | 10 | 929.392 | 111.527 | 585 | 10 | 1676.56 | 201.188 | 610 | 10 | 4173.99 | 500.879 | 645 | 10 | 2105.49 | 252.658 | 680 | 10 | 1645.03 | 197.404 | 705 | 10 | 707.004 | 84.84 | 730 | 10 | 5621.1 | 674.532 | 760 | 10 | 4462.66 | 535.519 | 810 | 10 | 4110.94 | 493.312 | 860 | 10 | 3571.74 | 428.609 | 900 | 10 | 1107.47 | 132.897 | 940 | 10 | 698.822 | 83.859 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 2 | 0 | White_Waist | Saturday | 20240427T214052Z | 21.6811 | 20 | 20 | 410 | 10 | 2687.1 | 322.452 | 435 | 10 | 2876.76 | 345.211 | 460 | 10 | 2158.61 | 259.033 | 485 | 10 | 3867.73 | 464.127 | 510 | 10 | 3109.12 | 373.094 | 535 | 10 | 1928.51 | 231.421 | 560 | 10 | 1293.71 | 155.246 | 585 | 10 | 2133.61 | 256.034 | 610 | 10 | 5608.62 | 673.034 | 645 | 10 | 2169.14 | 260.297 | 680 | 10 | 2011.4 | 241.367 | 705 | 10 | 872.38 | 104.686 | 730 | 10 | 5419.42 | 650.33 | 760 | 10 | 4493.17 | 539.18 | 810 | 10 | 4909.59 | 589.151 | 860 | 10 | 4089.88 | 490.785 | 900 | 10 | 1116.92 | 134.03 | 940 | 10 | 644.999 | 77.4 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 3 | 0 | White_Waist | Saturday | 20240427T214053Z | 21.6814 | 20 | 20 | 410 | 10 | 2874.29 | 344.915 | 435 | 10 | 2939.3 | 352.715 | 460 | 10 | 2158.61 | 259.033 | 485 | 10 | 3868.57 | 464.229 | 510 | 10 | 3046.85 | 365.622 | 535 | 10 | 1871.45 | 224.574 | 560 | 10 | 1236.86 | 148.423 | 585 | 10 | 2102.02 | 252.243 | 610 | 10 | 5620.01 | 674.401 | 645 | 10 | 2258.34 | 271 | 680 | 10 | 1885.49 | 226.259 | 705 | 10 | 839.101 | 100.692 | 730 | 10 | 5577.15 | 669.258 | 760 | 10 | 4559.96 | 547.195 | 810 | 10 | 4870.91 | 584.509 | 860 | 10 | 4038.18 | 484.581 | 900 | 10 | 1135.26 | 136.231 | 940 | 10 | 661.763 | 79.412 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 4 | 0 | White_Waist | Saturday | 20240427T214055Z | 21.6819 | 20 | 20 | 410 | 10 | 2958.53 | 355.024 | 435 | 10 | 3067.26 | 368.071 | 460 | 10 | 2275.59 | 273.071 | 485 | 10 | 3784.51 | 454.141 | 510 | 10 | 3030.43 | 363.652 | 535 | 10 | 1848.75 | 221.85 | 560 | 10 | 1204.93 | 144.591 | 585 | 10 | 2081.38 | 249.766 | 610 | 10 | 5590.38 | 670.846 | 645 | 10 | 2301.64 | 276.197 | 680 | 10 | 1960.83 | 235.299 | 705 | 10 | 835.026 | 100.203 | 730 | 10 | 5761.56 | 691.388 | 760 | 10 | 4674.58 | 560.949 | 810 | 10 | 4896.7 | 587.604 | 860 | 10 | 4012.33 | 481.48 | 900 | 10 | 1160.26 | 139.231 | 940 | 10 | 685.587 | 82.27 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 5 | 0 | White_Waist | Saturday | 20240427T214056Z | 21.6822 | 20 | 20 | 410 | 10 | 2841.11 | 340.933 | 435 | 10 | 2805.56 | 336.667 | 460 | 10 | 2031.41 | 243.77 | 485 | 10 | 3993.39 | 479.207 | 510 | 10 | 3046.17 | 365.54 | 535 | 10 | 1737.22 | 208.466 | 560 | 10 | 1248.23 | 149.787 | 585 | 10 | 2119.71 | 254.366 | 610 | 10 | 5568.73 | 668.248 | 645 | 10 | 2251.68 | 270.201 | 680 | 10 | 1906.13 | 228.735 | 705 | 10 | 842.497 | 101.1 | 730 | 10 | 5597.55 | 671.707 | 760 | 10 | 4583.87 | 550.064 | 810 | 10 | 4915.23 | 589.828 | 860 | 10 | 4089.88 | 490.785 | 900 | 10 | 1123.59 | 134.83 | 940 | 10 | 663.528 | 79.623 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 6 | 0 | White_Waist | Saturday | 20240427T214058Z | 21.6828 | 20 | 20 | 410 | 10 | 2738.15 | 328.578 | 435 | 10 | 2086.85 | 250.422 | 460 | 10 | 1371.3 | 164.556 | 485 | 10 | 3556.1 | 426.732 | 510 | 10 | 2326.36 | 279.164 | 535 | 10 | 1112.1 | 133.452 | 560 | 10 | 809.555 | 97.147 | 585 | 10 | 1635.28 | 196.234 | 610 | 10 | 4913.52 | 589.623 | 645 | 10 | 1935.61 | 232.273 | 680 | 10 | 863.796 | 103.655 | 705 | 10 | 542.648 | 65.118 | 730 | 10 | 4692.75 | 563.13 | 760 | 10 | 3739.5 | 448.74 | 810 | 10 | 4110.94 | 493.312 | 860 | 10 | 3236.89 | 388.426 | 900 | 10 | 970.219 | 116.426 | 940 | 10 | 574.41 | 68.929 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 7 | 0 | White_Waist | Saturday | 20240427T214059Z | 21.6831 | 20 | 20 | 410 | 10 | 2422.47 | 290.697 | 435 | 10 | 1729.9 | 207.588 | 460 | 10 | 1193.04 | 143.164 | 485 | 10 | 3725.92 | 447.111 | 510 | 10 | 2049.94 | 245.992 | 535 | 10 | 1069.31 | 128.317 | 560 | 10 | 949.948 | 113.994 | 585 | 10 | 1685.41 | 202.249 | 610 | 10 | 5557.34 | 666.881 | 645 | 10 | 1794.23 | 215.308 | 680 | 10 | 969.061 | 116.287 | 705 | 10 | 542.308 | 65.077 | 730 | 10 | 4254.86 | 510.584 | 760 | 10 | 3516.03 | 421.924 | 810 | 10 | 4347.88 | 521.745 | 860 | 10 | 3544.71 | 425.366 | 900 | 10 | 934.1 | 112.092 | 940 | 10 | 530.293 | 63.635 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 8 | 0 | White_Waist | Saturday | 20240427T214101Z | 21.6836 | 20 | 20 | 410 | 10 | 2579.89 | 309.586 | 435 | 10 | 2009.88 | 241.186 | 460 | 10 | 1385.22 | 166.227 | 485 | 10 | 4040.1 | 484.811 | 510 | 10 | 2435.16 | 292.219 | 535 | 10 | 1256.06 | 150.727 | 560 | 10 | 1100.4 | 132.048 | 585 | 10 | 1872.44 | 224.693 | 610 | 10 | 5700.92 | 684.11 | 645 | 10 | 1904.52 | 228.543 | 680 | 10 | 979.381 | 117.526 | 705 | 10 | 594.264 | 71.312 | 730 | 10 | 4285.47 | 514.256 | 760 | 10 | 3545.72 | 425.486 | 810 | 10 | 4310.8 | 517.296 | 860 | 10 | 3535.32 | 424.238 | 900 | 10 | 956.327 | 114.759 | 940 | 10 | 537.352 | 64.482 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 9 | 0 | White_Waist | Saturday | 20240427T214103Z | 21.6842 | 20 | 20 | 410 | 10 | 2670.08 | 320.41 | 435 | 10 | 2807.48 | 336.898 | 460 | 10 | 2370.29 | 284.435 | 485 | 10 | 4398.42 | 527.811 | 510 | 10 | 3501.86 | 420.224 | 535 | 10 | 2056.91 | 246.829 | 560 | 10 | 1598.99 | 191.879 | 585 | 10 | 2417.96 | 290.155 | 610 | 10 | 6472.36 | 776.683 | 645 | 10 | 2215.04 | 265.804 | 680 | 10 | 2182.71 | 261.925 | 705 | 10 | 975.272 | 117.033 | 730 | 10 | 5276.6 | 633.191 | 760 | 10 | 4465.13 | 535.815 | 810 | 10 | 5376.21 | 645.146 | 860 | 10 | 4472.89 | 536.747 | 900 | 10 | 1125.81 | 135.097 | 940 | 10 | 634.41 | 76.129 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 10 | 0 | White_Waist | Saturday | 20240427T214104Z | 21.6844 | 20 | 20 | 410 | 10 | 2958.53 | 355.024 | 435 | 10 | 3030.7 | 363.684 | 460 | 10 | 2256.09 | 270.731 | 485 | 10 | 3795.55 | 455.466 | 510 | 10 | 3010.59 | 361.271 | 535 | 10 | 1899.33 | 227.92 | 560 | 10 | 1242.54 | 149.105 | 585 | 10 | 2103.71 | 252.445 | 610 | 10 | 5582.41 | 669.889 | 645 | 10 | 2283.13 | 273.976 | 680 | 10 | 2154.84 | 258.581 | 705 | 10 | 880.19 | 105.623 | 730 | 10 | 5730.96 | 687.715 | 760 | 10 | 4719.93 | 566.391 | 810 | 10 | 4995.83 | 599.499 | 860 | 10 | 4139.22 | 496.706 | 900 | 10 | 1155.26 | 138.631 | 940 | 10 | 682.94 | 81.953 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 11 | 0 | White_Waist | Saturday | 20240427T214106Z | 21.685 | 20 | 20 | 410 | 10 | 2971.3 | 356.555 | 435 | 10 | 3109.59 | 373.151 | 460 | 10 | 2322.94 | 278.753 | 485 | 10 | 3729.32 | 447.518 | 510 | 10 | 3053.01 | 366.361 | 535 | 10 | 1934.35 | 232.122 | 560 | 10 | 1209.3 | 145.116 | 585 | 10 | 2075.06 | 249.008 | 610 | 10 | 5451.37 | 654.164 | 645 | 10 | 2307.56 | 276.907 | 680 | 10 | 1960.83 | 235.299 | 705 | 10 | 857.098 | 102.852 | 730 | 10 | 5809.44 | 697.132 | 760 | 10 | 4711.68 | 565.402 | 810 | 10 | 4834.64 | 580.157 | 860 | 10 | 4082.82 | 489.939 | 900 | 10 | 1173.04 | 140.765 | 940 | 10 | 695.293 | 83.435 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 12 | 0 | White_Waist | Saturday | 20240427T214107Z | 21.6853 | 20 | 20 | 410 | 10 | 3704.76 | 444.571 | 435 | 10 | 4333.42 | 520.01 | 460 | 10 | 2918.07 | 350.168 | 485 | 10 | 3986.6 | 478.392 | 510 | 10 | 3246.65 | 389.598 | 535 | 10 | 2575.02 | 309.003 | 560 | 10 | 1240.79 | 148.895 | 585 | 10 | 2125.19 | 255.023 | 610 | 10 | 5457.06 | 654.848 | 645 | 10 | 2533.69 | 304.043 | 680 | 10 | 2052.67 | 246.321 | 705 | 10 | 843.855 | 101.263 | 730 | 10 | 6054.28 | 726.513 | 760 | 10 | 4832.89 | 579.948 | 810 | 10 | 4966.81 | 596.017 | 860 | 10 | 4074.6 | 488.952 | 900 | 10 | 1285.29 | 154.235 | 940 | 10 | 895.586 | 107.47 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 13 | 0 | Whiite_Knee | Saturday | 20240427T214109Z | 21.6858 | 20 | 20 | 410 | 10 | 4370.15 | 524.418 | 435 | 10 | 5733.31 | 687.997 | 460 | 10 | 7192.58 | 863.109 | 485 | 10 | 6592.54 | 791.104 | 510 | 10 | 6283.92 | 754.071 | 535 | 10 | 5747.92 | 689.75 | 560 | 10 | 3701.38 | 444.166 | 585 | 10 | 3866.63 | 463.995 | 610 | 10 | 8946.21 | 1073.54 | 645 | 10 | 3245.39 | 389.447 | 680 | 10 | 7662.7 | 919.524 | 705 | 10 | 2769.61 | 332.353 | 730 | 10 | 8009.85 | 961.182 | 760 | 10 | 7740.38 | 928.846 | 810 | 10 | 8207.37 | 984.884 | 860 | 10 | 8338.36 | 1000.6 | 900 | 10 | 1974.89 | 236.987 | 940 | 10 | 1155.88 | 138.706 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 14 | 0 | Whiite_Knee | Saturday | 20240427T214110Z | 21.6861 | 20 | 20 | 410 | 10 | 4496.08 | 539.53 | 435 | 10 | 5893.98 | 707.278 | 460 | 10 | 7371.77 | 884.612 | 485 | 10 | 6842.18 | 821.062 | 510 | 10 | 6461.82 | 775.418 | 535 | 10 | 5978.13 | 717.375 | 560 | 10 | 3914.82 | 469.778 | 585 | 10 | 4008.17 | 480.98 | 610 | 10 | 9551.29 | 1146.15 | 645 | 10 | 3386.77 | 406.412 | 680 | 10 | 8087.89 | 970.547 | 705 | 10 | 2874.88 | 344.985 | 730 | 10 | 8286.08 | 994.329 | 760 | 10 | 7999.3 | 959.916 | 810 | 10 | 8535.38 | 1024.24 | 860 | 10 | 8622.69 | 1034.72 | 900 | 10 | 2059.35 | 247.122 | 940 | 10 | 1190.29 | 142.835 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 15 | 0 | Whiite_Knee | Saturday | 20240427T214112Z | 21.6867 | 20 | 20 | 410 | 10 | 4625.42 | 555.05 | 435 | 10 | 6083.53 | 730.023 | 460 | 10 | 7637.3 | 916.476 | 485 | 10 | 7036.63 | 844.395 | 510 | 10 | 6697.88 | 803.745 | 535 | 10 | 6170.72 | 740.486 | 560 | 10 | 4062.64 | 487.517 | 585 | 10 | 4149.28 | 497.914 | 610 | 10 | 9862.37 | 1183.48 | 645 | 10 | 3495.57 | 419.469 | 680 | 10 | 8463.54 | 1015.63 | 705 | 10 | 3020.22 | 362.426 | 730 | 10 | 8564.66 | 1027.76 | 760 | 10 | 8267.3 | 992.075 | 810 | 10 | 8848.07 | 1061.77 | 860 | 10 | 8959.89 | 1075.19 | 900 | 10 | 2122.7 | 254.724 | 940 | 10 | 1235.29 | 148.235 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 16 | 0 | Whiite_Knee | Saturday | 20240427T214114Z | 21.6872 | 20 | 20 | 410 | 10 | 4685.83 | 562.3 | 435 | 10 | 6167.23 | 740.067 | 460 | 10 | 7749.64 | 929.957 | 485 | 10 | 7142.77 | 857.132 | 510 | 10 | 6797.09 | 815.651 | 535 | 10 | 6295.22 | 755.426 | 560 | 10 | 4122.13 | 494.655 | 585 | 10 | 4216.68 | 506.002 | 610 | 10 | 10045.8 | 1205.5 | 645 | 10 | 3557.38 | 426.886 | 680 | 10 | 8681.3 | 1041.76 | 705 | 10 | 3076.93 | 369.231 | 730 | 10 | 8718.47 | 1046.22 | 760 | 10 | 8434.69 | 1012.16 | 810 | 10 | 9004.41 | 1080.53 | 860 | 10 | 9184.3 | 1102.12 | 900 | 10 | 2168.27 | 260.192 | 940 | 10 | 1256.47 | 150.776 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 17 | 0 | Whiite_Knee | Saturday | 20240427T214115Z | 21.6875 | 20 | 20 | 410 | 10 | 4725.82 | 567.099 | 435 | 10 | 6243.24 | 749.188 | 460 | 10 | 7822.05 | 938.646 | 485 | 10 | 7202.21 | 864.264 | 510 | 10 | 6840.2 | 820.823 | 535 | 10 | 6362.66 | 763.519 | 560 | 10 | 4150.99 | 498.119 | 585 | 10 | 4248.7 | 509.843 | 610 | 10 | 10156.4 | 1218.76 | 645 | 10 | 3595.5 | 431.46 | 680 | 10 | 8785.53 | 1054.26 | 705 | 10 | 3120.4 | 374.447 | 730 | 10 | 8793.02 | 1055.16 | 760 | 10 | 8511.37 | 1021.36 | 810 | 10 | 9072.11 | 1088.65 | 860 | 10 | 9299.44 | 1115.93 | 900 | 10 | 2183.83 | 262.059 | 940 | 10 | 1272.35 | 152.682 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 18 | 0 | Whiite_Knee | Saturday | 20240427T214117Z | 21.688 | 20 | 20 | 410 | 10 | 4854.3 | 582.517 | 435 | 10 | 6409.69 | 769.162 | 460 | 10 | 8089.45 | 970.733 | 485 | 10 | 7451 | 894.119 | 510 | 10 | 7101.57 | 852.188 | 535 | 10 | 6583.79 | 790.054 | 560 | 10 | 4345.62 | 521.474 | 585 | 10 | 4460.16 | 535.219 | 610 | 10 | 10559.7 | 1267.17 | 645 | 10 | 3736.88 | 448.425 | 680 | 10 | 9321.15 | 1118.54 | 705 | 10 | 3297.66 | 395.719 | 730 | 10 | 9066.89 | 1088.03 | 760 | 10 | 8793.38 | 1055.2 | 810 | 10 | 9416.23 | 1129.95 | 860 | 10 | 9710.66 | 1165.28 | 900 | 10 | 2275.51 | 273.062 | 940 | 10 | 1322.64 | 158.717 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 19 | 0 | Whiite_Knee | Saturday | 20240427T214118Z | 21.6883 | 20 | 20 | 410 | 10 | 4847.5 | 581.7 | 435 | 10 | 6399.1 | 767.892 | 460 | 10 | 8083.88 | 970.065 | 485 | 10 | 7418.73 | 890.247 | 510 | 10 | 7078.3 | 849.396 | 535 | 10 | 6557.2 | 786.864 | 560 | 10 | 4329.43 | 519.532 | 585 | 10 | 4444.15 | 533.298 | 610 | 10 | 10538.1 | 1264.57 | 645 | 10 | 3723.19 | 446.782 | 680 | 10 | 9288.13 | 1114.57 | 705 | 10 | 3289.51 | 394.741 | 730 | 10 | 9064.54 | 1087.74 | 760 | 10 | 8788.43 | 1054.61 | 810 | 10 | 9405.76 | 1128.69 | 860 | 10 | 9710.66 | 1165.28 | 900 | 10 | 2273.85 | 272.862 | 940 | 10 | 1322.64 | 158.717 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 20 | 0 | Whiite_Knee | Saturday | 20240427T214120Z | 21.6889 | 20 | 20 | 410 | 10 | 4826.23 | 579.147 | 435 | 10 | 6382.75 | 765.929 | 460 | 10 | 8048.59 | 965.831 | 485 | 10 | 7366.93 | 884.032 | 510 | 10 | 7024.94 | 842.992 | 535 | 10 | 6528.67 | 783.44 | 560 | 10 | 4292.7 | 515.123 | 585 | 10 | 4402.03 | 528.243 | 610 | 10 | 10454.9 | 1254.59 | 645 | 10 | 3698.02 | 443.762 | 680 | 10 | 9238.59 | 1108.63 | 705 | 10 | 3267.09 | 392.051 | 730 | 10 | 9017.46 | 1082.09 | 760 | 10 | 8742.26 | 1049.07 | 810 | 10 | 9339.67 | 1120.76 | 860 | 10 | 9654.27 | 1158.51 | 900 | 10 | 2261.62 | 271.395 | 940 | 10 | 1315.59 | 157.87 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 21 | 0 | Whiite_Knee | Saturday | 20240427T214122Z | 21.6894 | 20 | 20 | 410 | 10 | 4782.83 | 573.94 | 435 | 10 | 6327.9 | 759.349 | 460 | 10 | 7988.25 | 958.589 | 485 | 10 | 7291.36 | 874.963 | 510 | 10 | 6962.67 | 835.52 | 535 | 10 | 6462.53 | 775.503 | 560 | 10 | 4245.9 | 509.508 | 585 | 10 | 4353.59 | 522.43 | 610 | 10 | 10346.7 | 1241.6 | 645 | 10 | 3662.12 | 439.454 | 680 | 10 | 9167.38 | 1100.08 | 705 | 10 | 3240.27 | 388.832 | 730 | 10 | 8939.77 | 1072.77 | 760 | 10 | 8669.69 | 1040.36 | 810 | 10 | 9259.08 | 1111.09 | 860 | 10 | 9569.67 | 1148.36 | 900 | 10 | 2243.28 | 269.194 | 940 | 10 | 1305.88 | 156.706 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 22 | 0 | Whiite_Knee | Saturday | 20240427T214123Z | 21.6897 | 20 | 20 | 410 | 10 | 4701.15 | 564.138 | 435 | 10 | 6209.56 | 745.147 | 460 | 10 | 7890.76 | 946.891 | 485 | 10 | 7165.69 | 859.883 | 510 | 10 | 6877.83 | 825.339 | 535 | 10 | 6348.39 | 761.807 | 560 | 10 | 4193.41 | 503.21 | 585 | 10 | 4298.82 | 515.859 | 610 | 10 | 10231.6 | 1227.79 | 645 | 10 | 3612.53 | 433.503 | 680 | 10 | 9086.88 | 1090.43 | 705 | 10 | 3208.69 | 385.042 | 730 | 10 | 8844.03 | 1061.28 | 760 | 10 | 8581.46 | 1029.77 | 810 | 10 | 9183.32 | 1102 | 860 | 10 | 9482.73 | 1137.93 | 900 | 10 | 2218.28 | 266.193 | 940 | 10 | 1293.53 | 155.223 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 23 | 0 | 2White_Waist | Saturday | 20240427T214125Z | 21.6903 | 20 | 20 | 410 | 10 | 3164.45 | 379.734 | 435 | 10 | 3011.46 | 361.375 | 460 | 10 | 2683.17 | 321.981 | 485 | 10 | 4028.21 | 483.385 | 510 | 10 | 2933.27 | 351.993 | 535 | 10 | 1757.97 | 210.956 | 560 | 10 | 1340.51 | 160.861 | 585 | 10 | 2324.86 | 278.983 | 610 | 10 | 6651.26 | 798.151 | 645 | 10 | 2697.64 | 323.717 | 680 | 10 | 4656.45 | 558.773 | 705 | 10 | 1227.92 | 147.35 | 730 | 10 | 7442.48 | 893.097 | 760 | 10 | 5221.28 | 626.553 | 810 | 10 | 5351.23 | 642.147 | 860 | 10 | 4995.73 | 599.488 | 900 | 10 | 1290.29 | 154.835 | 940 | 10 | 711.175 | 85.341 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 24 | 0 | 2White_Waist | Saturday | 20240427T214126Z | 21.6905 | 20 | 20 | 410 | 10 | 2355.25 | 282.63 | 435 | 10 | 2707.42 | 324.891 | 460 | 10 | 2065.77 | 247.892 | 485 | 10 | 3978.11 | 477.373 | 510 | 10 | 3365.7 | 403.884 | 535 | 10 | 2019.94 | 242.393 | 560 | 10 | 1569.69 | 188.362 | 585 | 10 | 2373.3 | 284.796 | 610 | 10 | 5786.38 | 694.366 | 645 | 10 | 2001.49 | 240.179 | 680 | 10 | 2183.74 | 262.049 | 705 | 10 | 992.591 | 119.111 | 730 | 10 | 5355.07 | 642.608 | 760 | 10 | 4716.63 | 565.995 | 810 | 10 | 5606.71 | 672.804 | 860 | 10 | 4677.33 | 561.28 | 900 | 10 | 1188.05 | 142.565 | 940 | 10 | 664.41 | 79.729 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 25 | 0 | 2White_Waist | Saturday | 20240427T214128Z | 21.6911 | 20 | 20 | 410 | 10 | 2498.2 | 299.784 | 435 | 10 | 2743.02 | 329.163 | 460 | 10 | 2015.63 | 241.876 | 485 | 10 | 3855.84 | 462.7 | 510 | 10 | 3150.17 | 378.02 | 535 | 10 | 1923.32 | 230.799 | 560 | 10 | 1390.81 | 166.897 | 585 | 10 | 2225.03 | 267.003 | 610 | 10 | 5749.92 | 689.99 | 645 | 10 | 2061.44 | 247.373 | 680 | 10 | 1996.95 | 239.634 | 705 | 10 | 902.262 | 108.271 | 730 | 10 | 5433.54 | 652.025 | 760 | 10 | 4644.89 | 557.387 | 810 | 10 | 5324.63 | 638.956 | 860 | 10 | 4441.17 | 532.941 | 900 | 10 | 1174.71 | 140.965 | 940 | 10 | 661.763 | 79.412 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 26 | 0 | 2White_Waist | Saturday | 20240427T214129Z | 21.6914 | 20 | 20 | 410 | 10 | 2471.82 | 296.619 | 435 | 10 | 2833.46 | 340.015 | 460 | 10 | 2116.83 | 254.019 | 485 | 10 | 3665.64 | 439.876 | 510 | 10 | 3100.91 | 372.109 | 535 | 10 | 1956.4 | 234.767 | 560 | 10 | 1341.38 | 160.966 | 585 | 10 | 2172.79 | 260.735 | 610 | 10 | 5496.95 | 659.633 | 645 | 10 | 2027.03 | 243.243 | 680 | 10 | 2046.48 | 245.578 | 705 | 10 | 910.073 | 109.209 | 730 | 10 | 5464.15 | 655.698 | 760 | 10 | 4690.24 | 562.829 | 810 | 10 | 5215.84 | 625.9 | 860 | 10 | 4428.25 | 531.39 | 900 | 10 | 1181.93 | 141.832 | 940 | 10 | 675.881 | 81.106 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 27 | 0 | 2White_Waist | Saturday | 20240427T214131Z | 21.6919 | 20 | 20 | 410 | 10 | 2468.42 | 296.211 | 435 | 10 | 2778.62 | 333.434 | 460 | 10 | 2078.76 | 249.452 | 485 | 10 | 3637.61 | 436.514 | 510 | 10 | 3012.64 | 361.517 | 535 | 10 | 1886.36 | 226.363 | 560 | 10 | 1284.53 | 154.143 | 585 | 10 | 2112.97 | 253.557 | 610 | 10 | 5387.55 | 646.507 | 645 | 10 | 2017.03 | 242.044 | 680 | 10 | 1967.02 | 236.042 | 705 | 10 | 872.38 | 104.686 | 730 | 10 | 5415.5 | 649.859 | 760 | 10 | 4592.12 | 551.054 | 810 | 10 | 5067.55 | 608.106 | 860 | 10 | 4289.61 | 514.753 | 900 | 10 | 1154.7 | 138.565 | 940 | 10 | 664.41 | 79.729 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 28 | 0 | 2White_Waist | Saturday | 20240427T214133Z | 21.6925 | 20 | 20 | 410 | 10 | 2465.87 | 295.904 | 435 | 10 | 2766.11 | 331.934 | 460 | 10 | 2048.13 | 245.775 | 485 | 10 | 3545.91 | 425.509 | 510 | 10 | 2953.11 | 354.374 | 535 | 10 | 1865.61 | 223.873 | 560 | 10 | 1258.72 | 151.047 | 585 | 10 | 2071.27 | 248.553 | 610 | 10 | 5339.7 | 640.763 | 645 | 10 | 1987.43 | 238.491 | 680 | 10 | 1954.63 | 234.556 | 705 | 10 | 872.04 | 104.645 | 730 | 10 | 5336.23 | 640.348 | 760 | 10 | 4530.27 | 543.633 | 810 | 10 | 5003.08 | 600.369 | 860 | 10 | 4226.16 | 507.14 | 900 | 10 | 1137.48 | 136.497 | 940 | 10 | 656.469 | 78.776 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 29 | 0 | 2White_Waist | Saturday | 20240427T214134Z | 21.6928 | 20 | 20 | 410 | 10 | 2489.69 | 298.763 | 435 | 10 | 2695.88 | 323.505 | 460 | 10 | 1988.71 | 238.645 | 485 | 10 | 3511.94 | 421.433 | 510 | 10 | 2846.38 | 341.565 | 535 | 10 | 1765.75 | 211.89 | 560 | 10 | 1197.93 | 143.752 | 585 | 10 | 1995.87 | 239.504 | 610 | 10 | 5197.26 | 623.671 | 645 | 10 | 1980.76 | 237.692 | 680 | 10 | 1820.47 | 218.457 | 705 | 10 | 834.007 | 100.081 | 730 | 10 | 5256.19 | 630.743 | 760 | 10 | 4428.85 | 531.462 | 810 | 10 | 4867.69 | 584.122 | 860 | 10 | 4149.79 | 497.975 | 900 | 10 | 1119.14 | 134.297 | 940 | 10 | 644.999 | 77.4 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 30 | 0 | 2White_Waist | Saturday | 20240427T214136Z | 21.6933 | 20 | 20 | 410 | 10 | 2440.34 | 292.841 | 435 | 10 | 2664.13 | 319.695 | 460 | 10 | 1947.85 | 233.742 | 485 | 10 | 3444.02 | 413.282 | 510 | 10 | 2795.74 | 335.489 | 535 | 10 | 1702.2 | 204.264 | 560 | 10 | 1144.57 | 137.349 | 585 | 10 | 1945.32 | 233.438 | 610 | 10 | 5096.98 | 611.638 | 645 | 10 | 1943.01 | 233.162 | 680 | 10 | 1748.23 | 209.788 | 705 | 10 | 770.166 | 92.42 | 730 | 10 | 5180.86 | 621.703 | 760 | 10 | 4302.69 | 516.322 | 810 | 10 | 4694.42 | 563.33 | 860 | 10 | 3905.41 | 468.65 | 900 | 10 | 1080.24 | 129.629 | 940 | 10 | 635.293 | 76.235 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 31 | 0 | 2White_Waist | Saturday | 20240427T214137Z | 21.6936 | 20 | 20 | 410 | 10 | 2329.73 | 279.567 | 435 | 10 | 2576.57 | 309.189 | 460 | 10 | 1919.07 | 230.289 | 485 | 10 | 3538.27 | 424.592 | 510 | 10 | 2893.59 | 347.23 | 535 | 10 | 1768.99 | 212.279 | 560 | 10 | 1234.67 | 148.16 | 585 | 10 | 2009.77 | 241.172 | 610 | 10 | 5169.91 | 620.389 | 645 | 10 | 1913.41 | 229.609 | 680 | 10 | 1787.45 | 214.494 | 705 | 10 | 825.857 | 99.103 | 730 | 10 | 5052.95 | 606.353 | 760 | 10 | 4303.51 | 516.421 | 810 | 10 | 4807.24 | 576.869 | 860 | 10 | 4073.43 | 488.811 | 900 | 10 | 1094.69 | 131.363 | 940 | 10 | 618.528 | 74.223 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 51 | 1 | 1White | Saturday | 20240427T214250Z | 21.7139 | 20 | 20 | 410 | 10 | 1979.16 | 237.499 | 435 | 10 | 2362.98 | 283.558 | 460 | 10 | 2347.08 | 281.65 | 485 | 10 | 2539.71 | 304.765 | 510 | 10 | 2323.63 | 278.835 | 535 | 10 | 1713.87 | 205.665 | 560 | 10 | 1008.99 | 121.079 | 585 | 10 | 1457.94 | 174.952 | 610 | 10 | 3517.64 | 422.116 | 645 | 10 | 1344.2 | 161.303 | 680 | 10 | 1848.34 | 221.8 | 705 | 10 | 751.489 | 90.179 | 730 | 10 | 3781.67 | 453.8 | 760 | 10 | 3609.21 | 433.105 | 810 | 10 | 3695.09 | 443.411 | 860 | 10 | 3462.47 | 415.496 | 900 | 10 | 919.096 | 110.292 | 940 | 10 | 539.999 | 64.8 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 52 | 1 | 1White | Saturday | 20240427T214252Z | 21.7144 | 20 | 20 | 410 | 10 | 1887.27 | 226.472 | 435 | 10 | 2304.29 | 276.515 | 460 | 10 | 2414.86 | 289.783 | 485 | 10 | 2539.71 | 304.765 | 510 | 10 | 2332.52 | 279.903 | 535 | 10 | 1815.03 | 217.804 | 560 | 10 | 1069.35 | 128.322 | 585 | 10 | 1467.62 | 176.115 | 610 | 10 | 3603.1 | 432.372 | 645 | 10 | 1288.31 | 154.597 | 680 | 10 | 2063 | 247.559 | 705 | 10 | 802.426 | 96.291 | 730 | 10 | 3772.25 | 452.67 | 760 | 10 | 3674.35 | 440.922 | 810 | 10 | 3842.57 | 461.108 | 860 | 10 | 3551.76 | 426.212 | 900 | 10 | 922.986 | 110.758 | 940 | 10 | 541.763 | 65.012 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 53 | 1 | 1White | Saturday | 20240427T214253Z | 21.7147 | 20 | 20 | 410 | 10 | 1924.7 | 230.965 | 435 | 10 | 2377.41 | 285.29 | 460 | 10 | 2464.06 | 295.688 | 485 | 10 | 2625.47 | 315.056 | 510 | 10 | 2420.1 | 290.412 | 535 | 10 | 1943.43 | 233.211 | 560 | 10 | 1155.51 | 138.661 | 585 | 10 | 1535.44 | 184.253 | 610 | 10 | 3586.01 | 430.321 | 645 | 10 | 1314.96 | 157.795 | 680 | 10 | 2165.17 | 259.82 | 705 | 10 | 872.38 | 104.686 | 730 | 10 | 3697.7 | 443.724 | 760 | 10 | 3666.11 | 439.933 | 810 | 10 | 3807.11 | 456.853 | 860 | 10 | 3603.46 | 432.415 | 900 | 10 | 929.099 | 111.492 | 940 | 10 | 535.587 | 64.27 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 54 | 1 | 1White | Saturday | 20240427T214255Z | 21.7153 | 20 | 20 | 410 | 10 | 2055.74 | 246.689 | 435 | 10 | 2539.05 | 304.686 | 460 | 10 | 2783.44 | 334.013 | 485 | 10 | 3116.26 | 373.951 | 510 | 10 | 2795.74 | 335.489 | 535 | 10 | 2298.13 | 275.776 | 560 | 10 | 1390.37 | 166.844 | 585 | 10 | 1711.95 | 205.434 | 610 | 10 | 3936.97 | 472.437 | 645 | 10 | 1387.5 | 166.5 | 680 | 10 | 2700.78 | 324.094 | 705 | 10 | 1052.02 | 126.242 | 730 | 10 | 3808.35 | 457.001 | 760 | 10 | 3842.57 | 461.108 | 810 | 10 | 4073.87 | 488.864 | 860 | 10 | 4024.08 | 482.89 | 900 | 10 | 990.779 | 118.893 | 940 | 10 | 546.175 | 65.541 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 55 | 1 | 1White | Saturday | 20240427T214256Z | 21.7156 | 20 | 20 | 410 | 10 | 2138.28 | 256.593 | 435 | 10 | 2701.65 | 324.198 | 460 | 10 | 2961.7 | 355.404 | 485 | 10 | 2305.35 | 276.642 | 510 | 10 | 2718.43 | 326.211 | 535 | 10 | 1986.22 | 238.347 | 560 | 10 | 1225.92 | 147.111 | 585 | 10 | 1652.13 | 198.256 | 610 | 10 | 4199.05 | 503.887 | 645 | 10 | 1505.19 | 180.623 | 680 | 10 | 2876.22 | 345.147 | 705 | 10 | 1086.31 | 130.358 | 730 | 10 | 4093.21 | 491.185 | 760 | 10 | 4061.91 | 487.429 | 810 | 10 | 4078.7 | 489.444 | 860 | 10 | 4132.17 | 495.861 | 900 | 10 | 1012.45 | 121.494 | 940 | 10 | 589.41 | 70.729 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 77 | 2 | 2White | Saturday | 20240427T214414Z | 21.7372 | 20 | 20 | 410 | 10 | 3973.64 | 476.837 | 435 | 10 | 5101.19 | 612.143 | 460 | 10 | 5723.79 | 686.855 | 485 | 10 | 5577.85 | 669.341 | 510 | 10 | 4966.1 | 595.932 | 535 | 10 | 4293.44 | 515.212 | 560 | 10 | 2859.46 | 343.136 | 585 | 10 | 3079.74 | 369.568 | 610 | 10 | 7728.09 | 927.371 | 645 | 10 | 2884.91 | 346.189 | 680 | 10 | 5740.06 | 688.807 | 705 | 10 | 2067.02 | 248.042 | 730 | 10 | 6566.71 | 788.005 | 760 | 10 | 5699.54 | 683.944 | 810 | 10 | 5825.91 | 699.109 | 860 | 10 | 5692.46 | 683.094 | 900 | 10 | 1461.44 | 175.373 | 940 | 10 | 958.233 | 114.988 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 78 | 2 | 2White | Saturday | 20240427T214416Z | 21.7378 | 20 | 20 | 410 | 10 | 3941.31 | 472.957 | 435 | 10 | 5035.77 | 604.292 | 460 | 10 | 5585.46 | 670.255 | 485 | 10 | 5470.01 | 656.401 | 510 | 10 | 4892.21 | 587.065 | 535 | 10 | 4220.16 | 506.419 | 560 | 10 | 2810.92 | 337.31 | 585 | 10 | 3031.71 | 363.806 | 610 | 10 | 7627.81 | 915.337 | 645 | 10 | 2863.08 | 343.569 | 680 | 10 | 5712.2 | 685.463 | 705 | 10 | 2018.46 | 242.215 | 730 | 10 | 6565.14 | 787.817 | 760 | 10 | 5640.99 | 676.919 | 810 | 10 | 5791.26 | 694.951 | 860 | 10 | 5544.42 | 665.33 | 900 | 10 | 1438.1 | 172.572 | 940 | 10 | 950.292 | 114.035 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 79 | 2 | 2White | Saturday | 20240427T214417Z | 21.7381 | 20 | 20 | 410 | 10 | 4045.97 | 485.516 | 435 | 10 | 5339.8 | 640.776 | 460 | 10 | 6414.55 | 769.746 | 485 | 10 | 5502.27 | 660.273 | 510 | 10 | 5068.05 | 608.166 | 535 | 10 | 4698.07 | 563.769 | 560 | 10 | 2806.11 | 336.733 | 585 | 10 | 3043.93 | 365.272 | 610 | 10 | 7518.42 | 902.21 | 645 | 10 | 2896.39 | 347.566 | 680 | 10 | 6270.52 | 752.462 | 705 | 10 | 2146.82 | 257.619 | 730 | 10 | 6725.23 | 807.027 | 760 | 10 | 6045.04 | 725.404 | 810 | 10 | 5811.4 | 697.368 | 860 | 10 | 5619.61 | 674.353 | 900 | 10 | 1550.35 | 186.042 | 940 | 10 | 1002.35 | 120.282 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 80 | 2 | 2White | Saturday | 20240427T214419Z | 21.7386 | 20 | 20 | 410 | 10 | 4066.39 | 487.966 | 435 | 10 | 5232.04 | 627.845 | 460 | 10 | 5824.99 | 698.999 | 485 | 10 | 5638.13 | 676.576 | 510 | 10 | 5132.37 | 615.884 | 535 | 10 | 4565.79 | 547.894 | 560 | 10 | 2830.6 | 339.672 | 585 | 10 | 3110.07 | 373.208 | 610 | 10 | 7770.25 | 932.43 | 645 | 10 | 2973.37 | 356.804 | 680 | 10 | 6386.1 | 766.332 | 705 | 10 | 2159.72 | 259.167 | 730 | 10 | 6871.97 | 824.637 | 760 | 10 | 6016.18 | 721.941 | 810 | 10 | 5878.29 | 705.395 | 860 | 10 | 5737.1 | 688.452 | 900 | 10 | 1532.01 | 183.841 | 940 | 10 | 977.645 | 117.317 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 81 | 2 | 2White | Saturday | 20240427T214421Z | 21.7392 | 20 | 20 | 410 | 10 | 4018.74 | 482.248 | 435 | 10 | 5098.31 | 611.797 | 460 | 10 | 5622.6 | 674.711 | 485 | 10 | 5652.57 | 678.308 | 510 | 10 | 5054.37 | 606.524 | 535 | 10 | 4496.4 | 539.568 | 560 | 10 | 2803.48 | 336.418 | 585 | 10 | 3110.07 | 373.208 | 610 | 10 | 7867.11 | 944.053 | 645 | 10 | 2978.18 | 357.381 | 680 | 10 | 6007.35 | 720.882 | 705 | 10 | 2099.62 | 251.954 | 730 | 10 | 6748.77 | 809.852 | 760 | 10 | 5822.4 | 698.688 | 810 | 10 | 5873.46 | 704.815 | 860 | 10 | 5654.86 | 678.583 | 900 | 10 | 1479.22 | 177.507 | 940 | 10 | 950.292 | 114.035 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 82 | 2 | 2White | Saturday | 20240427T214422Z | 21.7394 | 20 | 20 | 410 | 10 | 3987.25 | 478.47 | 435 | 10 | 4816.4 | 577.968 | 460 | 10 | 5254.01 | 630.481 | 485 | 10 | 5725.59 | 687.071 | 510 | 10 | 5123.47 | 614.817 | 535 | 10 | 4436.74 | 532.409 | 560 | 10 | 2882.21 | 345.865 | 585 | 10 | 3173.25 | 380.79 | 610 | 10 | 7966.24 | 955.949 | 645 | 10 | 3004.46 | 360.535 | 680 | 10 | 6109.52 | 733.142 | 705 | 10 | 2095.21 | 251.425 | 730 | 10 | 6821.75 | 818.61 | 760 | 10 | 5879.29 | 705.515 | 810 | 10 | 5975 | 717 | 860 | 10 | 5735.93 | 688.312 | 900 | 10 | 1500.34 | 180.041 | 940 | 10 | 924.704 | 110.964 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 83 | 2 | 2White | Saturday | 20240427T214424Z | 21.74 | 20 | 20 | 410 | 10 | 2018.3 | 242.196 | 435 | 10 | 1630.8 | 195.696 | 460 | 10 | 1345.3 | 161.436 | 485 | 10 | 5531.99 | 663.839 | 510 | 10 | 3204.91 | 384.589 | 535 | 10 | 2587.99 | 310.559 | 560 | 10 | 2578.68 | 309.441 | 585 | 10 | 3012.76 | 361.531 | 610 | 10 | 8067.66 | 968.119 | 645 | 10 | 2735.39 | 328.247 | 680 | 10 | 4167.27 | 500.072 | 705 | 10 | 1330.47 | 159.657 | 730 | 10 | 5422.56 | 650.707 | 760 | 10 | 4719.1 | 566.292 | 810 | 10 | 6004.02 | 720.482 | 860 | 10 | 5395.2 | 647.424 | 900 | 10 | 1212.5 | 145.5 | 940 | 10 | 556.763 | 66.812 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 99 | 3 | 3White | Saturday | 20240427T214646Z | 21.7794 | 20 | 20 | 410 | 10 | 4878.98 | 585.478 | 435 | 10 | 6222.07 | 746.648 | 460 | 10 | 8303.91 | 996.47 | 485 | 10 | 7888.29 | 946.594 | 510 | 10 | 6747.14 | 809.657 | 535 | 10 | 5417.86 | 650.143 | 560 | 10 | 4210.91 | 505.309 | 585 | 10 | 4730.18 | 567.622 | 610 | 10 | 11604.7 | 1392.56 | 645 | 10 | 3867.52 | 464.103 | 680 | 10 | 6964.03 | 835.683 | 705 | 10 | 2476.21 | 297.146 | 730 | 10 | 9226.98 | 1107.24 | 760 | 10 | 8607.02 | 1032.84 | 810 | 10 | 9990.84 | 1198.9 | 860 | 10 | 7969.44 | 956.332 | 900 | 10 | 2183.83 | 262.059 | 940 | 10 | 1357.94 | 162.953 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 100 | 3 | 3White | Saturday | 20240427T214647Z | 21.7797 | 20 | 20 | 410 | 10 | 4915.57 | 589.868 | 435 | 10 | 6283.65 | 754.038 | 460 | 10 | 8403.25 | 1008.39 | 485 | 10 | 7886.59 | 946.391 | 510 | 10 | 6824.46 | 818.935 | 535 | 10 | 5596.19 | 671.542 | 560 | 10 | 4387.6 | 526.512 | 585 | 10 | 4731.02 | 567.723 | 610 | 10 | 11642.3 | 1397.07 | 645 | 10 | 3857.16 | 462.859 | 680 | 10 | 7240.61 | 868.873 | 705 | 10 | 2576.39 | 309.167 | 730 | 10 | 9230.12 | 1107.61 | 760 | 10 | 8594.66 | 1031.36 | 810 | 10 | 10061.8 | 1207.41 | 860 | 10 | 8204.42 | 984.53 | 900 | 10 | 2200.5 | 264.06 | 940 | 10 | 1360.59 | 163.27 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 101 | 3 | 3White | Saturday | 20240427T214649Z | 21.7803 | 20 | 20 | 410 | 10 | 4759.86 | 571.183 | 435 | 10 | 6363.5 | 763.62 | 460 | 10 | 8766.27 | 1051.95 | 485 | 10 | 7376.27 | 885.153 | 510 | 10 | 6518.61 | 782.233 | 535 | 10 | 5647.41 | 677.69 | 560 | 10 | 4318.94 | 518.272 | 585 | 10 | 4466.9 | 536.028 | 610 | 10 | 11012.1 | 1321.45 | 645 | 10 | 3679.88 | 441.586 | 680 | 10 | 7421.21 | 890.545 | 705 | 10 | 2534.28 | 304.114 | 730 | 10 | 9027.66 | 1083.32 | 760 | 10 | 8574.04 | 1028.88 | 810 | 10 | 9737.79 | 1168.53 | 860 | 10 | 8084.58 | 970.15 | 900 | 10 | 2198.27 | 263.793 | 940 | 10 | 1372.06 | 164.647 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 102 | 3 | 3White | Saturday | 20240427T214651Z | 21.7808 | 20 | 20 | 410 | 10 | 4671.37 | 560.564 | 435 | 10 | 6268.25 | 752.19 | 460 | 10 | 8646.5 | 1037.58 | 485 | 10 | 7413.63 | 889.636 | 510 | 10 | 6411.87 | 769.424 | 535 | 10 | 5680.48 | 681.658 | 560 | 10 | 4393.72 | 527.247 | 585 | 10 | 4545.68 | 545.481 | 610 | 10 | 10939.2 | 1312.7 | 645 | 10 | 3592.91 | 431.149 | 680 | 10 | 7496.55 | 899.585 | 705 | 10 | 2597.1 | 311.652 | 730 | 10 | 9015.89 | 1081.91 | 760 | 10 | 8585.59 | 1030.27 | 810 | 10 | 9866.73 | 1184.01 | 860 | 10 | 8039.94 | 964.792 | 900 | 10 | 2162.15 | 259.458 | 940 | 10 | 1382.64 | 165.917 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 103 | 3 | 3White | Saturday | 20240427T214652Z | 21.7811 | 20 | 20 | 410 | 10 | 4588.83 | 550.659 | 435 | 10 | 6111.43 | 733.371 | 460 | 10 | 8451.54 | 1014.18 | 485 | 10 | 7223.43 | 866.812 | 510 | 10 | 6401.61 | 768.193 | 535 | 10 | 5512.54 | 661.504 | 560 | 10 | 4388.47 | 526.617 | 585 | 10 | 4472.38 | 536.685 | 610 | 10 | 10885.6 | 1306.28 | 645 | 10 | 3589.95 | 430.794 | 680 | 10 | 7212.74 | 865.529 | 705 | 10 | 2567.22 | 308.066 | 730 | 10 | 8777.32 | 1053.28 | 760 | 10 | 8336.55 | 1000.39 | 810 | 10 | 9715.23 | 1165.83 | 860 | 10 | 8117.48 | 974.097 | 900 | 10 | 2145.48 | 257.458 | 940 | 10 | 1332.35 | 159.882 | 4.13 | 93
STELLA-Q2 | 2.4.0 | 6858 | 120 | 4 | 4White | Saturday | 20240427T214831Z | 21.8086 | 20 | 20 | 410 | 10 | 1892.37 | 227.085 | 435 | 10 | 2530.39 | 303.647 | 460 | 10 | 3231.88 | 387.825 | 485 | 10 | 2899.73 | 347.968 | 510 | 10 | 2772.48 | 332.698 | 535 | 10 | 2571.78 | 308.614 | 560 | 10 | 1667.22 | 200.066 | 585 | 10 | 1730.9 | 207.708 | 610 | 10 | 4048.64 | 485.837 | 645 | 10 | 1459.67 | 175.16 | 680 | 10 | 3508.85 | 421.062 | 705 | 10 | 1240.48 | 148.858 | 730 | 10 | 3375.95 | 405.114 | 760 | 10 | 3296.69 | 395.603 | 810 | 10 | 3492.81 | 419.137 | 860 | 10 | 3478.92 | 417.47 | 900 | 10 | 867.418 | 104.09 | 940 | 10 | 513.528 | 61.623 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 121 | 4 | 4White | Saturday | 20240427T214833Z | 21.8092 | 20 | 20 | 410 | 10 | 1899.18 | 227.901 | 435 | 10 | 2533.28 | 303.994 | 460 | 10 | 3241.16 | 388.939 | 485 | 10 | 2892.09 | 347.051 | 510 | 10 | 2765.64 | 331.876 | 535 | 10 | 2532.87 | 303.945 | 560 | 10 | 1668.97 | 200.276 | 585 | 10 | 1728.38 | 207.405 | 610 | 10 | 4113.6 | 493.631 | 645 | 10 | 1480.39 | 177.647 | 680 | 10 | 3560.45 | 427.254 | 705 | 10 | 1267.31 | 152.077 | 730 | 10 | 3414.41 | 409.729 | 760 | 10 | 3303.29 | 396.395 | 810 | 10 | 3513.76 | 421.651 | 860 | 10 | 3581.14 | 429.736 | 900 | 10 | 866.862 | 104.023 | 940 | 10 | 517.058 | 62.047 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 122 | 4 | 4White | Saturday | 20240427T214835Z | 21.8097 | 20 | 20 | 410 | 10 | 1907.69 | 228.922 | 435 | 10 | 2545.79 | 305.494 | 460 | 10 | 3245.8 | 389.496 | 485 | 10 | 2912.47 | 349.496 | 510 | 10 | 2751.95 | 330.234 | 535 | 10 | 2523.15 | 302.778 | 560 | 10 | 1677.72 | 201.326 | 585 | 10 | 1739.33 | 208.719 | 610 | 10 | 4080.55 | 489.666 | 645 | 10 | 1491.49 | 178.979 | 680 | 10 | 3465.5 | 415.86 | 705 | 10 | 1256.1 | 150.733 | 730 | 10 | 3423.82 | 410.859 | 760 | 10 | 3290.1 | 394.812 | 810 | 10 | 3515.37 | 421.844 | 860 | 10 | 3493.02 | 419.162 | 900 | 10 | 864.084 | 103.69 | 940 | 10 | 516.175 | 61.941 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 123 | 4 | 4White | Saturday | 20240427T214836Z | 21.81 | 20 | 20 | 410 | 10 | 1911.09 | 229.331 | 435 | 10 | 2548.67 | 305.841 | 460 | 10 | 3229.09 | 387.491 | 485 | 10 | 2918.41 | 350.209 | 510 | 10 | 2771.79 | 332.615 | 535 | 10 | 2475.16 | 297.019 | 560 | 10 | 1670.72 | 200.486 | 585 | 10 | 1737.22 | 208.467 | 610 | 10 | 4167.15 | 500.058 | 645 | 10 | 1488.16 | 178.58 | 680 | 10 | 3313.8 | 397.655 | 705 | 10 | 1235.39 | 148.247 | 730 | 10 | 3396.36 | 407.563 | 760 | 10 | 3219.18 | 386.302 | 810 | 10 | 3471.05 | 416.526 | 860 | 10 | 3461.3 | 415.355 | 900 | 10 | 852.415 | 102.29 | 940 | 10 | 516.175 | 61.941 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 124 | 4 | 4White | Saturday | 20240427T214838Z | 21.8105 | 20 | 20 | 410 | 10 | 1880.46 | 225.655 | 435 | 10 | 2526.54 | 303.185 | 460 | 10 | 3225.38 | 387.045 | 485 | 10 | 2875.11 | 345.013 | 510 | 10 | 2741 | 328.92 | 535 | 10 | 2523.79 | 302.855 | 560 | 10 | 1672.47 | 200.696 | 585 | 10 | 1706.89 | 204.827 | 610 | 10 | 4117.01 | 494.042 | 645 | 10 | 1459.67 | 175.16 | 680 | 10 | 3435.57 | 412.269 | 705 | 10 | 1249.65 | 149.958 | 730 | 10 | 3419.11 | 410.294 | 760 | 10 | 3297.52 | 395.702 | 810 | 10 | 3517.79 | 422.135 | 860 | 10 | 3531.79 | 423.815 | 900 | 10 | 862.973 | 103.557 | 940 | 10 | 517.058 | 62.047 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 125 | 4 | 4White | Saturday | 20240427T214839Z | 21.8108 | 20 | 20 | 410 | 10 | 1922.15 | 230.658 | 435 | 10 | 2557.33 | 306.88 | 460 | 10 | 3273.66 | 392.839 | 485 | 10 | 2916.71 | 350.006 | 510 | 10 | 2797.11 | 335.653 | 535 | 10 | 2552.98 | 306.357 | 560 | 10 | 1683.4 | 202.008 | 585 | 10 | 1739.33 | 208.719 | 610 | 10 | 4118.15 | 494.178 | 645 | 10 | 1489.64 | 178.757 | 680 | 10 | 3561.48 | 427.377 | 705 | 10 | 1267.99 | 152.159 | 730 | 10 | 3445.8 | 413.496 | 760 | 10 | 3340.4 | 400.847 | 810 | 10 | 3568.56 | 428.227 | 860 | 10 | 3628.13 | 435.376 | 900 | 10 | 875.198 | 105.024 | 940 | 10 | 517.94 | 62.153 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 126 | 4 | 4White | Saturday | 20240427T214841Z | 21.8114 | 20 | 20 | 410 | 10 | 1906.84 | 228.82 | 435 | 10 | 2535.2 | 304.224 | 460 | 10 | 3193.81 | 383.257 | 485 | 10 | 2887 | 346.439 | 510 | 10 | 2719.11 | 326.293 | 535 | 10 | 2527.04 | 303.244 | 560 | 10 | 1661.1 | 199.331 | 585 | 10 | 1718.27 | 206.192 | 610 | 10 | 4104.48 | 492.537 | 645 | 10 | 1472.62 | 176.714 | 680 | 10 | 3551.16 | 426.139 | 705 | 10 | 1252.03 | 150.243 | 730 | 10 | 3421.47 | 410.576 | 760 | 10 | 3310.71 | 397.285 | 810 | 10 | 3530.68 | 423.682 | 860 | 10 | 3582.31 | 429.877 | 900 | 10 | 866.862 | 104.023 | 940 | 10 | 516.175 | 61.941 | 4.12 | 93
STELLA-Q2 | 2.4.0 | 6858 | 142 | 5 | 5White | Saturday | 20240427T215108Z | 21.8522 | 20 | 20 | 410 | 10 | 1163.16 | 139.579 | 435 | 10 | 1433.57 | 172.028 | 460 | 10 | 1783.52 | 214.023 | 485 | 10 | 1525.86 | 183.103 | 510 | 10 | 1427.98 | 171.357 | 535 | 10 | 1251.52 | 150.183 | 560 | 10 | 840.17 | 100.82 | 585 | 10 | 885.461 | 106.255 | 610 | 10 | 1962.22 | 235.466 | 645 | 10 | 704.666 | 84.56 | 680 | 10 | 1433.47 | 172.016 | 705 | 10 | 583.737 | 70.048 | 730 | 10 | 2308.71 | 277.045 | 760 | 10 | 2396.25 | 287.549 | 810 | 10 | 2537.81 | 304.537 | 860 | 10 | 2542.51 | 305.102 | 900 | 10 | 644.034 | 77.284 | 940 | 10 | 356.47 | 42.776 | 4.13 | 92
STELLA-Q2 | 2.4.0 | 6858 | 143 | 5 | 5White | Saturday | 20240427T215109Z | 21.8525 | 20 | 20 | 410 | 10 | 1160.61 | 139.273 | 435 | 10 | 1427.79 | 171.335 | 460 | 10 | 1777.02 | 213.243 | 485 | 10 | 1525.86 | 183.103 | 510 | 10 | 1425.24 | 171.029 | 535 | 10 | 1239.85 | 148.782 | 560 | 10 | 841.482 | 100.978 | 585 | 10 | 887.988 | 106.559 | 610 | 10 | 1965.64 | 235.876 | 645 | 10 | 703.926 | 84.471 | 680 | 10 | 1428.31 | 171.397 | 705 | 10 | 581.699 | 69.804 | 730 | 10 | 2303.21 | 276.386 | 760 | 10 | 2390.47 | 286.857 | 810 | 10 | 2537 | 304.44 | 860 | 10 | 2534.29 | 304.115 | 900 | 10 | 643.478 | 77.217 | 940 | 10 | 355.588 | 42.67 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 144 | 5 | 5White | Saturday | 20240427T215111Z | 21.8531 | 20 | 20 | 410 | 10 | 1163.16 | 139.579 | 435 | 10 | 1429.72 | 171.566 | 460 | 10 | 1739.88 | 208.786 | 485 | 10 | 1522.47 | 182.696 | 510 | 10 | 1418.4 | 170.208 | 535 | 10 | 1176.3 | 141.156 | 560 | 10 | 815.678 | 97.881 | 585 | 10 | 884.619 | 106.154 | 610 | 10 | 1953.1 | 234.372 | 645 | 10 | 701.335 | 84.16 | 680 | 10 | 1288.98 | 154.678 | 705 | 10 | 544.685 | 65.362 | 730 | 10 | 2292.23 | 275.067 | 760 | 10 | 2359.96 | 283.196 | 810 | 10 | 2509.6 | 301.152 | 860 | 10 | 2422.67 | 290.721 | 900 | 10 | 634.032 | 76.084 | 940 | 10 | 355.588 | 42.67 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 145 | 5 | 5White | Saturday | 20240427T215112Z | 21.8533 | 20 | 20 | 410 | 10 | 1146.14 | 137.537 | 435 | 10 | 1422.98 | 170.758 | 460 | 10 | 1800.23 | 216.028 | 485 | 10 | 1465.57 | 175.869 | 510 | 10 | 1440.98 | 172.917 | 535 | 10 | 1351.38 | 162.166 | 560 | 10 | 847.605 | 101.713 | 585 | 10 | 889.674 | 106.761 | 610 | 10 | 1958.8 | 235.056 | 645 | 10 | 705.777 | 84.693 | 680 | 10 | 1405.6 | 168.672 | 705 | 10 | 593.924 | 71.271 | 730 | 10 | 2296.15 | 275.538 | 760 | 10 | 2383.88 | 286.065 | 810 | 10 | 2524.1 | 302.892 | 860 | 10 | 2575.41 | 309.049 | 900 | 10 | 650.147 | 78.018 | 940 | 10 | 354.705 | 42.565 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 178 | 7 | 7White | Saturday | 20240427T215359Z | 21.8997 | 20 | 20 | 410 | 10 | 3668.17 | 440.181 | 435 | 10 | 4716.34 | 565.961 | 460 | 10 | 5714.51 | 685.741 | 485 | 10 | 5520.96 | 662.514 | 510 | 10 | 5141.95 | 617.034 | 535 | 10 | 4313.54 | 517.624 | 560 | 10 | 2970.12 | 356.414 | 585 | 10 | 3100.38 | 372.045 | 610 | 10 | 7452.33 | 894.279 | 645 | 10 | 2646.2 | 317.544 | 680 | 10 | 5558.43 | 667.011 | 705 | 10 | 1967.86 | 236.144 | 730 | 10 | 5886.34 | 706.361 | 760 | 10 | 5572.55 | 668.706 | 810 | 10 | 6041.89 | 725.027 | 860 | 10 | 5587.89 | 670.547 | 900 | 10 | 1409.21 | 169.105 | 940 | 10 | 830.292 | 99.635 | 4.13 | 92
STELLA-Q2 | 2.4.0 | 6858 | 179 | 7 | 7White | Saturday | 20240427T215400Z | 21.9 | 20 | 20 | 410 | 10 | 3674.98 | 440.997 | 435 | 10 | 4739.44 | 568.732 | 460 | 10 | 5746.08 | 689.529 | 485 | 10 | 5517.56 | 662.107 | 510 | 10 | 5138.53 | 616.623 | 535 | 10 | 4305.11 | 516.613 | 560 | 10 | 2936.44 | 352.373 | 585 | 10 | 3099.53 | 371.944 | 610 | 10 | 7476.26 | 897.151 | 645 | 10 | 2654.71 | 318.565 | 680 | 10 | 5408.78 | 649.054 | 705 | 10 | 1935.94 | 232.313 | 730 | 10 | 5905.17 | 708.621 | 760 | 10 | 5571.72 | 668.607 | 810 | 10 | 6045.92 | 725.51 | 860 | 10 | 5497.42 | 659.69 | 900 | 10 | 1408.1 | 168.971 | 940 | 10 | 832.939 | 99.953 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 180 | 7 | 7White | Saturday | 20240427T215402Z | 21.9005 | 20 | 20 | 410 | 10 | 3676.68 | 441.202 | 435 | 10 | 4750.98 | 570.118 | 460 | 10 | 5771.14 | 692.537 | 485 | 10 | 5510.77 | 661.292 | 510 | 10 | 5139.21 | 616.705 | 535 | 10 | 4318.72 | 518.247 | 560 | 10 | 2906.26 | 348.751 | 585 | 10 | 3091.53 | 370.984 | 610 | 10 | 7460.3 | 895.237 | 645 | 10 | 2652.12 | 318.255 | 680 | 10 | 5495.47 | 659.457 | 705 | 10 | 1958.35 | 235.002 | 730 | 10 | 5907.53 | 708.903 | 760 | 10 | 5586.57 | 670.388 | 810 | 10 | 6034.64 | 724.157 | 860 | 10 | 5524.45 | 662.933 | 900 | 10 | 1408.65 | 169.038 | 940 | 10 | 834.704 | 100.164 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 181 | 7 | 7White | Saturday | 20240427T215404Z | 21.9011 | 20 | 20 | 410 | 10 | 3690.29 | 442.835 | 435 | 10 | 4762.53 | 571.503 | 460 | 10 | 5826.85 | 699.222 | 485 | 10 | 5549.82 | 665.979 | 510 | 10 | 5167.95 | 620.154 | 535 | 10 | 4422.48 | 530.697 | 560 | 10 | 2963.99 | 355.679 | 585 | 10 | 3112.17 | 373.461 | 610 | 10 | 7492.21 | 899.065 | 645 | 10 | 2666.19 | 319.942 | 680 | 10 | 5586.29 | 670.354 | 705 | 10 | 2002.84 | 240.341 | 730 | 10 | 5921.65 | 710.598 | 760 | 10 | 5608.01 | 672.961 | 810 | 10 | 6063.65 | 727.638 | 860 | 10 | 5666.61 | 679.993 | 900 | 10 | 1419.76 | 170.372 | 940 | 10 | 835.586 | 100.27 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 182 | 7 | 7White | Saturday | 20240427T215405Z | 21.9014 | 20 | 20 | 410 | 10 | 3674.98 | 440.997 | 435 | 10 | 4738.47 | 568.617 | 460 | 10 | 5811.07 | 697.328 | 485 | 10 | 5537.94 | 664.552 | 510 | 10 | 5164.53 | 619.743 | 535 | 10 | 4482.79 | 537.934 | 560 | 10 | 3000.29 | 360.035 | 585 | 10 | 3111.75 | 373.41 | 610 | 10 | 7502.47 | 900.296 | 645 | 10 | 2660.63 | 319.276 | 680 | 10 | 5750.38 | 690.046 | 705 | 10 | 2041.55 | 244.986 | 730 | 10 | 5920.87 | 710.504 | 760 | 10 | 5618.72 | 674.247 | 810 | 10 | 6077.36 | 729.282 | 860 | 10 | 5771.18 | 692.541 | 900 | 10 | 1422.54 | 170.705 | 940 | 10 | 834.704 | 100.164 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 183 | 7 | 7White | Saturday | 20240427T215407Z | 21.9019 | 20 | 20 | 410 | 10 | 3696.25 | 443.55 | 435 | 10 | 4772.14 | 572.658 | 460 | 10 | 5850.99 | 702.119 | 485 | 10 | 5564.26 | 667.711 | 510 | 10 | 5186.42 | 622.371 | 535 | 10 | 4499 | 539.879 | 560 | 10 | 3004.23 | 360.508 | 585 | 10 | 3125.65 | 375.078 | 610 | 10 | 7525.26 | 903.031 | 645 | 10 | 2673.59 | 320.83 | 680 | 10 | 5795.79 | 695.495 | 705 | 10 | 2063.62 | 247.635 | 730 | 10 | 5937.35 | 712.481 | 760 | 10 | 5631.1 | 675.731 | 810 | 10 | 6095.08 | 731.41 | 860 | 10 | 5812.3 | 697.476 | 900 | 10 | 1426.43 | 171.172 | 940 | 10 | 838.233 | 100.588 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 184 | 7 | 7White | Saturday | 20240427T215408Z | 21.9022 | 20 | 20 | 410 | 10 | 3692.85 | 443.142 | 435 | 10 | 4756.75 | 570.81 | 460 | 10 | 5818.5 | 698.219 | 485 | 10 | 5575.3 | 669.036 | 510 | 10 | 5187.11 | 622.453 | 535 | 10 | 4419.23 | 530.308 | 560 | 10 | 3030.47 | 363.657 | 585 | 10 | 3134.92 | 376.19 | 610 | 10 | 7550.33 | 906.039 | 645 | 10 | 2679.88 | 321.585 | 680 | 10 | 5818.49 | 698.219 | 705 | 10 | 2057.17 | 246.861 | 730 | 10 | 5936.56 | 712.387 | 760 | 10 | 5626.97 | 675.237 | 810 | 10 | 6105.56 | 732.668 | 860 | 10 | 5824.05 | 698.886 | 900 | 10 | 1425.32 | 171.039 | 940 | 10 | 837.351 | 100.482 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 185 | 7 | 7White | Saturday | 20240427T215410Z | 21.9028 | 20 | 20 | 410 | 10 | 3485.23 | 418.228 | 435 | 10 | 4312.25 | 517.47 | 460 | 10 | 5012.62 | 601.514 | 485 | 10 | 5480.2 | 657.623 | 510 | 10 | 5176.85 | 621.221 | 535 | 10 | 4308.35 | 517.002 | 560 | 10 | 3094.33 | 371.319 | 585 | 10 | 3156.82 | 378.819 | 610 | 10 | 7591.35 | 910.962 | 645 | 10 | 2648.42 | 317.81 | 680 | 10 | 5701.88 | 684.225 | 705 | 10 | 2085.02 | 250.202 | 730 | 10 | 5897.33 | 707.679 | 760 | 10 | 5605.53 | 672.664 | 810 | 10 | 6132.96 | 735.955 | 860 | 10 | 5950.94 | 714.112 | 900 | 10 | 1417.54 | 170.105 | 940 | 10 | 815.292 | 97.835 | 4.12 | 92